## FD_LV
NOnA Far Detector Low Voltage Relay Rack
Front |  |  |  | Back
Position | Equipment | Voltage | Power | Position | Equipment
45 |  |  |  | 45
44 |  |  |  | 44
43 | Rack Protection |  |  | 43 | Rack Protection
42 |  |  |  | 42
41 | Cable Run Gap |  |  | 41 | Cable Run Gap
40 |  |  |  | 40
39 | DAQ Switch | 110-240 | 70 | 39 | Empty
38 |  |  |  | 38 | Empty
37 | DCS Switch | 110-240 | 70 | 37 | Empty
36 |  |  |  | 36 | Empty
35 | Empty |  |  | 35 | Empty
34 | Empty |  |  | 34 | Empty
33 | Empty |  |  | 33 | Air Gap
32 | Empty |  |  | 32 | 24V Power supplies
31 |  |  |  | 31 | (Fieldpoint)
30 | Field Point | 24VDC | 120 | 30 | Power Distribution Block
29 |  |  |  | 29 | (Fieldpoint)
28 | Air Gap |  |  | 28 | Air Gap
27 | Air Gap |  |  | 27 | Air Gap
26 | Fan Tray (9 Fan) | 115 | 120 | 26 | Fan Tray (9 Fan)
25 |  |  |  | 25 | Rear Access
24 | Wiener PL506 #4 | 240 | 2038 | 24
23 |  |  |  | 23
22 | Air Gap |  |  | 22 | LV Breaker Panel
21 | Air Gap |  |  | 21
20 | Fan Tray (9 Fan) | 115 | 120 | 20 | Fan Tray (9 Fan)
19 |  |  |  | 19 | Rear Access
18 | Wiener PL506 #3 | 240 | 2167 | 18
17 |  |  |  | 17
16 | Air Gap |  |  | 16 | LV Breaker Panel
15 | Air Gap |  |  | 15
14 | Fan Tray (9 Fan) | 115 | 120 | 14 | Fan Tray (9 Fan)
13 |  |  |  | 13 | Rear Access
12 | Wiener PL506 #2 | 240 | 2019 | 12
11 |  |  |  | 11
10 | Air Gap |  |  | 10 | LV Breaker Panel
9 | Air Gap |  |  | 9
8 | Fan Tray (9 Fan) | 115 | 120 | 8 | Fan Tray (9 Fan)
7 |  |  |  | 7 | Rear Access
6 | Wiener PL506 #1 | 240 | 2149 | 6
5 |  |  |  | 5
4 | Air Gap |  |  | 4 | LV Breaker Panel
3 | Air Gap |  |  | 3
2 | Fan Tray (9 Fan) | 115 | 120 | 2 | Fan Tray (9 Fan)
1 | Empty |  |  | 1 | Empty
|  | Total: | 9233

## FD_HV
NOnA Far Detector High Voltage Relay Rack
Front |  |  |  | Back
Position | Equipment | Voltage | Power | Position | Equipment
45 | Empty |  |  | 45 | Empty
44 |  |  |  | 44
43 | Rack Protection |  |  | 43 | Rack Protection
42 |  |  |  | 42
41 | Cable Run Gap |  |  | 41 | Cable Run Gap
40 |  |  |  | 40
39 | Empty |  |  | 39 | Empty
38 | Empty |  |  | 38 | Empty
37 | Empty |  |  | 37 | Empty
36 | Empty |  |  | 36 | Empty
35 | Empty |  |  | 35 | Empty
34 | Empty |  |  | 34 | Empty
33 | Empty |  |  | 33 | Empty
32 | Empty |  |  | 32 | Empty
31 | Empty |  |  | 31 | Empty
30 | Empty |  |  | 30 | Empty
29 | Empty |  |  | 29 | Empty
28 | Empty |  |  | 28 | Empty
27 | Empty |  |  | 27 | Empty
26 | Empty |  |  | 26 | Empty
25 | Empty |  |  | 25 | Empty
24 | Empty |  |  | 24 | Empty
23 | Empty |  |  | 23 | Empty
22 | Empty |  |  | 22 | Empty
21 | HV Patch Pannel (32 Channel) |  |  | 21 | HV Patch Pannel Back
20 |  |  |  | 20
19 | HV Patch Pannel (32 Channel) |  |  | 19 | HV Patch Pannel Back
18 |  |  |  | 18
17 | HV Patch Pannel (32 Channel) |  |  | 17 | HV Patch Pannel Back
16 |  |  |  | 16
15 | Air Gap |  |  | 15 | Air Gap
14 | Air Gap |  |  | 14 | Air Gap
13 | Fan Tray (9 Fan) | 110-240 | 117 | 13 | Fan Tray (9 Fan)
12 |  |  |  | 12 | Empty
11 |  |  |  | 11 | Empty
10 |  |  |  | 10 | Empty
9 | Wiener MPOD | 110-240 | 600 | 9 | Empty
8 | ISEG HV |  |  | 8 | Empty
7 | (9U) |  |  | 7 | Empty
6 |  |  |  | 6 | Empty
5 |  |  |  | 5 | Empty
4 |  |  |  | 4 | Empty
3 | Empty |  |  | 3 | Empty
2 | Empty |  |  | 2 | Empty
1 | Empty |  |  | 1 | Empty
|  | Total: | 717

## ND_LV
NOnA Near Detector Low Voltage Relay Rack
Front |  |  |  | Back
Position | Equipment | Voltage | Power | Position | Equipment
44 |  |  |  | 44
43 | Rack Protection |  |  | 43 | Rack Protection
42 |  |  |  | 42
41 | Cable Run Gap |  |  | 41 | Cable Run Gap
40 |  |  |  | 40
39 | DAQ Switch | 110-240 | 70 | 39 | Empty
38 |  |  |  | 38 | Empty
37 | DCS Switch | 110-240 | 70 | 37 | Empty
36 |  |  |  | 36 | Empty
35 | DCS Computer | 110-240 | 300 | 35 | DCS Computer Back
34 | Empty |  |  | 34 | Empty
33 | Empty |  |  | 33 | Empty
32 | Empty |  |  | 32 | Empty
31 | Empty |  |  | 31 | Empty
30 |  | 110-240 | 40 | 30 | Empty
29 | Controls Terminal |  |  | 29 | Empty
28 | (LCD Screen) |  |  | 28 | Empty
27 |  |  |  | 27 | Aux. Terminal Block
26 |  |  |  | 26 | DIN mounted
25 |  |  |  | 25 | (DB37 Cable routing)
24 |  |  |  | 24 | Empty
23 | Air Gap |  |  | 23 | Air Gap
22 | Keyboard | USB | 0 | 22 | Empty
21 | Air Gap |  |  | 21 | Air Gap
20 | Air Gap |  |  | 20 | 24V Power supplies
19 |  |  |  | 19 | (Fieldpoint)
18 | Field Point | 24VDC | 120 | 18 | Power Distribution Block
17 |  |  |  | 17 | (Fieldpoint)
16 | Air Gap |  |  | 16 | Air Gap
15 | Air Gap |  |  | 15 | Air Gap
14 | Fan Tray (9 Fan) | 110-240 | 117 | 14 | Fan Tray (9 Fan)
13 |  |  |  | 13 | Rear Access
12 | Wiener PL506 | 240 | 2520 | 12
11 |  |  |  | 11
10 | Air Gap |  |  | 10 | LV Breaker Panel
9 | Air Gap |  |  | 9
8 | Fan Tray (9 Fan) | 110-240 | 117 | 8 | Fan Tray (9 Fan)
7 |  |  |  | 7 | Rear Access
6 | Wiener PL506 | 240 | 2520 | 6
5 |  |  |  | 5
4 | Air Gap |  |  | 4 | LV Breaker Panel
3 | Air Gap |  |  | 3
2 | Fan Tray (9 Fan) | 110-240 | 117 | 2 | Fan Tray (9 Fan)
1 | Empty |  |  | 1 | Empty
|  | Total: | 5991

## ND_HV
NOnA Near Detector High Voltage Relay Rack
Front |  |  |  | Back
Position | Equipment | Voltage | Power | Position | Equipment
44 |  |  |  | 44
43 | Rack Protection |  |  | 43 | Rack Protection
42 |  |  |  | 42
41 | Cable Run Gap |  |  | 41 | Cable Run Gap
40 |  |  |  | 40 | Aux. Terminal Block
39 | DAQ Switch | 110-240 | 70 | 39 | DIN mounted
38 |  |  |  | 38 | (DB37 Cable routing)
37 | DCS Switch | 110-240 | 70 | 37 | Air Gap
36 |  |  |  | 36 | 24V Power supplies
35 |  |  |  | 35 | (Fieldpoint)
34 | Field Point | 24VDC | 120 | 34 | Power Distribution Block
33 |  |  |  | 33 | (Fieldpoint)
32 | Air Gap |  |  | 32 | Air Gap
31 | Air Gap |  |  | 31 | Air Gap
30 | Fan Tray (9 Fan) | 110-240 | 117 | 30 | Fan Tray (9 Fan)
29 |  |  |  | 29 | Rear Access
28 | Wiener PL506 | 240 | 2530 | 28
27 |  |  |  | 27
26 | Air Gap |  |  | 26 | LV Breaker Panel
25 | Air Gap |  |  | 25
24 | Fan Tray (9 Fan) | 110-240 | 117 | 24 | Fan Tray (9 Fan)
23 |  |  |  | 23 | Rear Access
22 | Wiener PL506 | 240 | 2520 | 22
21 |  |  |  | 21
20 | Air Gap |  |  | 20 | LV Breaker Panel
19 | Air Gap |  |  | 19
18 | Fan Tray (9 Fan) | 110-240 | 117 | 18 | Fan Tray (9 Fan)
17 | Air Gap |  |  | 17 | Air Gap
16 | HV Patch Pannel (16 Channel) |  |  | 16 | HV Patch Pannel Back
15 |  |  |  | 15
14 | Air Gap |  |  | 14 | Air Gap
13 | Fan Tray (9 Fan) | 110-240 | 117 | 13 | Fan Tray (9 Fan)
12 |  |  |  | 12 | Empty
11 |  |  |  | 11 | Empty
10 |  |  |  | 10 | Empty
9 | Wiener MPOD | 110-240 | 600 | 9 | Empty
8 | ISEG HV |  |  | 8 | Empty
7 | (9U) |  |  | 7 | Empty
6 |  |  |  | 6 | Empty
5 |  |  |  | 5 | Empty
4 |  |  |  | 4 | Empty
3 | Empty |  |  | 3 | Empty
2 | Empty |  |  | 2 | Empty
1 | Empty |  |  | 1 | Empty
|  | Total: | 6378